## Slide 1: Smart Factory Electrical Safety & Health Monitoring Platform
IoT-based Solution for MSMEs

## Slide 2: 🔍 Problem Statement
MSMEs often use outdated or poorly maintained electrical systems, leading to:
- Short circuits, overloads, arc flashes
- No real-time monitoring or alerts
- High fire risk and equipment failures
- Unplanned downtime and no emergency shutoff

## Slide 3: 💡 Proposed Solution
A sensor-integrated safety system that:
- Continuously monitors electrical health
- Detects overload, overheating, arc flash, leakage
- Sends real-time alerts via dashboard + app
- Automatically shuts off power in critical faults

## Slide 4: ⚙️ How It Works
1. Sensors are installed on DBs and machines
2. Data flows through IoT gateway to cloud
3. Real-time AI checks and fault detection
4. Alerts sent to dashboard + app + SMS
5. Auto power shutoff and logs created for audit

## Slide 5: 🧠 System Architecture
Hardware Layer:
- CT Sensors, Arc Flash Sensor, Thermal IR Sensor
- IoT Gateway: ESP32 / Raspberry Pi / STM32
Software Layer:
- Backend: Node.js or Python (Flask/FastAPI)
- Frontend: React / Flutter
- Database: MongoDB or PostgreSQL
- Communication: MQTT over TLS

## Slide 6: 📲 IoT and App Technology Used
- Edge Controllers: ESP32, RPi, STM32
- Communication Protocol: MQTT + TLS
- Mobile App: Flutter (Android/iOS)
- Web Dashboard: React.js
- Real-time Data Processing with AI/ML models

## Slide 7: ✅ Features
- Real-time load & thermal monitoring
- Arc flash detection & alerts
- Cloud-based event logging and reports
- Auto-shutoff via smart relay
- Scalable, secure, and low-cost

## Slide 8: 🌟 Benefits & Impacts
- Prevents electrical fires and equipment damage
- Ensures safety compliance for audits
- Reduces downtime and increases productivity
- Affordable for MSMEs and easy to install

## Slide 9: 🔚 Conclusion
This full-stack IoT solution transforms traditional factory electrical systems into smart, safe, and self-monitoring platforms.
It boosts safety, ensures uptime, and future-proofs MSMEs with real-time visibility and automation.